Methods

---
An Alternate solution for smartphone-based urinalysis
- Here normal dip strips are used.
- Cropping is done following 4 algorithms.
- RGB values are calculated for refrence and experimental images through ANN mapping model.
- Finally similarity algorithms are applied to match the obtained images with stored data.
- No external hardware is used

---
A smartphone algorithm with inter-phone repeatability for the analysis of colorimetric tests
- No extra hardware only mobile camera.
- Uses CMOS sensor to measure electromagnetic radiation from the colored test zones.
- The app locates the reference colors (100 pixels) and transforms and averages the CMOS data in non-linear RGB.
- Converts RGB to 2D and uses distance between the refrence and sample to determine the results.

---
Cell Phone based Colorimetric Analysis for Point-of-Care Settings
- Through the analysis of over 10,000 images, it has been shown saturation method outperforms existing methods over wide range of conditions.
- Transforms RGB to HSV and computing MPI

---
Color Space Transformation-Based Smartphone Algorithm for Colorimetric Urinalysis

---
Continued.....
- Original RGB color space was converted to CIELab color space which was best for human vision. First, RGB to XYZ, which was transformed to CIELab.
- Extra hardware is needed to get clear data.

---
A smartphone-based calibration free portable urinalysis device
- Design to dip strip is changed for compactness and better image processing in the utilized algorithm.
- Method is to convert image recieved to RGB color space and then comparing with refrence average of previous and next spot.
- Extra hardware is used for ambient light conditions.

---
Continued....

---
Quantifying colorimetric tests using a smartphone app based on machine learning classifiers.
- The RGB values were also converted to HSV and LAB color spaces, The computed mean RGB,HSV and LAB values of the patches were used.
- The peroxide content were measured based on different illumination.

---
Smartphone-based colorimetric detection system for portable health tracking
- On Image dialation and expansion are utilized to minimize noise before HSV conversion.
- HSV conversion along with transportion is applied
- In-Range, Closing and erosion are applied to get a mast of all space other than coloured section.
- Then mask is attched to initial image
- Correcting all noise and finally detection part.